U.S. Department of Commerce

National Oceanic and Atmospheric Administration

Climate Monitoring and Diagnostics Laboratory

Ozone Sonde Vertical Profile Data Report  28 February 1999

Station       : South Pole

Station Height: 2835 meters

Flight Number : AS624

Launch Date   : 18 January 1999

Launch Time   : 03:33:40 GMT

O3 Sonde ID   : 6A6325   Background: 0.012 microamps (0.04 mPa)  Flowrate: 26.76 sec/100ml

Sonde Total O3: 281   (28) DU      Sonde Total O3 (SBUV): 278 (25) DU

Altitude (kilometers); Temperature ( C ); Ozone (millipascals). 2.835; -28.6; 1.88. 3; -24.9; 1.81. 3.25; -23.6; 1.28. 3.5; -23.1; 1.15. 3.75; -22.8; 1.25. 4; -22.9; 1.39. 4.25; -24; 1.1. 4.5; -25.2; 0.91. 4.75; -26.7; 0.84. 5; -28.3; 0.83. 5.25; -30.1; 0.9. 5.5; -32; 0.87. 5.75; -34.2; 0.8. 6; -36; 0.79. 6.25; -37.7; 0.83. 6.5; -39.4; 1.05. 6.75; -41.2; 1.03. 7; -42.3; 1.61. 7.25; -43.5; 1.43. 7.5; -45.3; 1.43. 7.75; -47.1; 1.24. 8; -48.8; 1.19. 8.25; -50.6; 1.13. 8.5; -52.5; 1.09. 8.75; -54.4; 1.19. 9; -56.2; 1.43. 9.25; -56.6; 2.25. 9.5; -56.6; 3.59. 9.75; -57; 3.37. 10; -57.1; 3.85. 10.25; -55.2; 5.2. 10.5; -54.9; 5.63. 10.75; -53.6; 6.03. 11; -52.9; 5.97. 11.25; -52.3; 5.62. 11.5; -52; 5.48. 11.75; -52.1; 5.27. 12; -51.2; 4.99. 12.25; -51; 4.93. 12.5; -50; 4.82. 12.75; -49.5; 4.94. 13; -49.3; 5.14. 13.25; -49.1; 4.92. 13.5; -48.7; 4.9. 13.75; -48.8; 4.67. 14; -48; 4.79. 14.25; -47.2; 5.59. 14.5; -46.3; 4.78. 14.75; -46.3; 5.06. 15; -46.3; 6.92. 15.25; -45; 8.41. 15.5; -45.3; 9.73. 15.75; -44.6; 10.55. 16; -43.4; 11.65. 16.25; -43.1; 12.45. 16.5; -43.5; 11.82. 16.75; -42.7; 12.08. 17; -42.6; 12.47. 17.25; -41.8; 12.78. 17.5; -42.5; 12.99. 17.75; -42.3; 13.26. 18; -41.3; 13.78. 18.25; -40.9; 14.05. 18.5; -40.5; 13.89. 18.75; -40.8; 14.06. 19; -40.7; 14.53. 19.25; -40.6; 14.38. 19.5; -40.6; 13.54. 19.75; -40.1; 13.44. 20; -40.2; 14.37. 20.25; -39.3; 13.73. 20.5; -38.1; 14.61. 20.75; -38.3; 15.11. 21; -38.5; 14.84. 21.25; -38.6; 14.07. 21.5; -38.3; 13.83. 21.75; -38.7; 14.23. 22; -37.9; 14.21. 22.25; -37.6; 13.89. 22.5; -36.8; 13.23. 22.75; -36.5; 12.71. 23; -36; 12.24. 23.25; -36.6; 11.5. 23.5; -36.8; 10.66. 23.75; -36.4; 10.43. 24; -36.2; 11.02. 24.25; -36.1; 10.65. 24.5; -35.5; 10.17. 24.75; -35.8; 9.79. 25; -35.4; 9.26. 25.25; -35.8; 9.62. 25.5; -35.5; 9.82. 25.75; -35.4; 9.23. 26; -34.8; 8.9. 26.25; -34.2; 8.76. 26.5; -33.2; 8.39. 26.75; -34; 7.72. 27; -33.6; 7.38. 27.25; -33.9; 7.22. 27.5; -33.6; 7.03. 27.75; -33.5; 6.92. 28; -33.2; 6.78. 28.25; -31.1; 6.67. 28.5; -31.3; 6.51. 28.75; -31.6; 6.45. 29; -31.7; 6.26. 29.25; -31.1; 6.11. 29.5; -30.3; 5.97. 29.75; -29.6; 5.82. 30; -28.5; 5.67. 30.25; -28.8; 5.52. 30.5; -27.9; 5.44. 30.75; -27.4; 5.31. 31; -27.7; 5.16. 31.25; -25.6; 5.01. 31.5; -25; 4.96. 31.75; -25.5; 4.86. 32; -25.3; 4.77. 32.25; -23.7; 4.57. 32.5; -23.6; 4.49. 32.75; -22.7; 4.43. 33; -21.5; 4.3. 33.25; -21.2; 4.22. 33.5; -21.4; 4.1. 33.75; -20.3; 3.92. 34; -19.8; 3.88. 34.25; -19.5; 3.75. 34.5; -18; 3.75. 34.75; -16.6; 3.7. 35; -17; 3.53. 35.25; -16.8; 3.4. 35.5; -16.8; 3.3. 35.75; -17.8; 3.06.